For the system in the link below:

https://www.mathworks.com/help/sps/ug/24-hour-simulation-of-a-vehicle-to-grid-v2g-system.html

The system consists of:

- Diesel generator

- Wind turbine

- PV system

- Electric Vehicle work as (V2G)

Required to be implemented:

- Increase Penetration of PV and EV

- Find the system inertia.

- Find ROCOF (rate of change of frequency)

- Observe the impact of penetration of PV and EV on power quality.

برای سیستم در لینک زیر:

https://www.mathworks.com/help/sps/ug/24-hour-simulation-of-a-vehicle-to-grid-v2g-system.html

این سیستم شامل موارد زیر است:

1- ژنراتور دیزلی

2- توربین بادی

3- سیستم فتوولتائیک

4- عملکرد خودروی برقی به عنوان (V2G)

موارد مورد نیاز برای اجرا:

1- افزایش نفوذ PV و EV

2- یافتن اینرسی سیستم.

3- یافتن ROCOF (نرخ تغییر فرکانس)

4- مشاهده تأثیر نفوذ PV و EV بر کیفیت توان.